## 89037-SOQ
Revised - APPENDIX 1 - Revision No. 1
FORM OF TENDER
Contract 89037
Brunette, Coleman, Rochester Watermain Replacements
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref. / (Supplementary Specifications) | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED AMOUNT
GENERAL
1 | 01 55 00S | TRAFFIC CONTROL
1.01 | ( 1.5.1 ) | Traffic Control and Management | Incidental to Contract
2 | 01 58 01S | PROJECT IDENTIFICATION
2.01 | ( 1.3.1 ) | Construction Zone Information Signs | ea. | 6 |  | 0
BRUNETTE & COLEMAN
3 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
3.01 | ( 1.4.3 ) | Remove and Replace Concrete Curb - (COQ-C6) | l.m | 19 |  | 0
3.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk (100mm) | sq.m | 11 |  | 0
4 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
4.01 | 1.10.3 | Overexcavation (Provisional) | cu.m | 40 |  | 0
4.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 375 |  | 0
4.03 | (1.10.10) | Hydro Excavation (Provisional) | Allowance |  |  | 20000
4.04 | (1.10.11) | Remove and Replace Retaining Walls (All Types) (Provisional) | Allowance |  |  | 8000
5 | 32 01 16.7S | COLD MILLING
5.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 718 |  | 0
6 | 32 12 13.1 | ASPHALT TACK COAT
6.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 718 |  | 0
7 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
7.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 718 |  | 0
8 | 33 11 01S | WATERWORKS
8.01 | (1.8.2) | 200mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 371 |  | 0
8.02 | (1.8.3.1) | 150mm Gate Valves | ea. | 1 |  | 0
8.03 | (1.8.3.1) | 200mm Gate Valves | ea. | 4 |  | 0
8.04 | (1.8.3.1) | Tee - 200mm x 200mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
8.05 | (1.8.3.1) | Tee - 200mm x 200mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
8.06 | (1.8.3.1) | Bend - 200mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 6 |  | 0
8.07 | (1.8.3.1) | Bend - 200mm 22.5° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
8.08 | (1.8.3.1) | Reducer - 200mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
8.09 | (1.8.3.2) | Remove Existing Valve Boxes & Risers Outside of Other Excavations (Provisional) | ea. | 3 |  | 0
8.1 | (1.8.3.2) | Remove Existing Blow-off Manhole Outside of Other Excavations | ea. | 1 |  | 0
8.11 | (1.8.3.3) | Removal of Existing Hydrants | ea. | 1 |  | 0
8.12 | (1.8.4.1) | 50mm Water Service Piping per COQ-W2e 89037 Revision w/ Municipex and #10 AWG Tracer Wire | m | 140 |  | 0
8.13 | (1.8.4.2) | Water Service Connection - Supply & Install Double Strap Saddle, 50mm Corporation Stop listed in COQ-W2e 89037 Revision. Precast Concrete Meter Box and meter setter as per Coquitlam Water Meter Specifications detail drawing WM-3 89037 Revision. (do not provide or install meter) | ea. | 14 |  | 0
8.14 | (1.8.4.3) | Transfer 19mm Existing Water Service to new main (Coq-W2b-1 or Coq-W2b-2) | ea. | 9 |  | 0
8.15 | (1.8.14) | Blow-off Assembly and Chamber including capping (COQ-W8) | ea. | 1 |  | 0
8.16 | (1.8.15) | New Fire Hydrant Assembly | ea. | 1 |  | 0
8.17 | (1.8.16) | Watermain tie-in including capping (to ex.150mm) | ea. | 3 |  | 0
ROCHESTER & LEBLEU
9 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
9.01 | ( 1.4.3 ) | Remove and Replace Concrete Curb - (COQ-C6) | l.m | 23 |  | 0
9.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk (100mm) | sq.m | 21 |  | 0
9.03 | (1.4.5) | Remove and Replace Concrete Driveway (190mm thick) - Brushed Finish | sq.m | 17 |  | 0
9.04 | (1.4.5) | Remove and Replace Concrete Driveway (190mm thick) - All Other Finishes | sq.m | 23 |  | 0
10 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
10.01 | 1.10.3 | Overexcavation (Provisional) | cu.m | 40 |  | 0
10.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 820 |  | 0
10.03 | (1.10.10) | Hydro Excavation (Provisional) | Allowance |  |  | 10000
10.04 | (1.10.11) | Remove and Replace Retaining Walls (All Types) | Allowance |  |  | 8000
11 | 32 01 16.7S | COLD MILLING
11.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 1509 |  | 0
12 | 32 12 13.1 | ASPHALT TACK COAT
12.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 1509 |  | 0
13 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
13.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 1509 |  | 0
14 | 33 11 01S | WATERWORKS
14.01 | (1.8.2) | 150mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 78 |  | 0
14.02 | (1.8.2) | 200mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 29 |  | 0
14.03 | (1.8.2) | 250mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 704 |  | 0
14.04 | (1.8.3.1) | 150mm Gate Valves | ea. | 5 |  | 0
14.05 | (1.8.3.1) | 200mm Gate Valves | ea. | 1 |  | 0
14.06 | (1.8.3.1) | 250mm Gate Valves | ea. | 2 |  | 0
14.07 | (1.8.3.1) | Tee - 150mm x 150mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
14.08 | (1.8.3.1) | Tee - 250mm x 250mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.09 | (1.8.3.1) | Cross - 250mm x 250mm x 200mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
14.1 | (1.8.3.1) | Bend - 200mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.11 | (1.8.3.1) | Bend - 250mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.12 | (1.8.3.1) | Reducer - 250mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
14.13 | (1.8.3.2) | Remove Existing Valve Boxes & Risers Outside of Other Excavations (Provisional) | ea. | 5 |  | 0
14.14 | (1.8.3.2) | Remove Existing Blow-off Manhole | ea. | 1
14.15 | (1.8.3.3) | Removal of Existing Hydrants | ea. | 2 |  | 0
14.16 | (1.8.4.1) | 50mm Water Service Piping per COQ-W2e 89037 Revision w/ Municipex and #10 AWG Tracer Wire | m | 244 |  | 0
14.17 | (1.8.4.2) | Water Service Connection - Supply & Install Double Strap Saddle, 50mm Corporation Stop listed in COQ-W2e 89037 Revision. Precast Concrete Meter Box and meter setter as per Coquitlam Water Meter Specifications detail drawing WM-3 89037 Revision. (do not provide or install meter) | ea. | 26 |  | 0
14.18 | (1.8.4.3) | Transfer 19mm Existing Water Service to new main (Coq-W2b-1 or Coq-W2b-2) | ea. | 44 |  | 0
14.19 | (1.8.5) | Air Valve Assembly, Chamber and Vent (COQ-W6) | ea. | 2 |  | 0
14.2 | (1.8.15) | New Fire Hydrant Assembly | ea. | 2 |  | 0
14.21 | (1.8.15) | New Fire Hydrant Lead DI (Re-Use Ex. Hydrant Body) | m | 6 |  | 0
14.22 | (1.8.16) | Watermain tie-in including capping (to ex. 150mm) | ea. | 2 |  | 0
14.23 | (1.8.16) | Watermain tie-in including capping (to ex. 200mm) | ea. | 4 |  | 0
14.24 | (1.8.16) | Watermain tie-in including capping (to ex. 250mm) | ea. | 2 |  | 0
| Name of Contractor:_______________________________________ |  |  |  | Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)