## SOQ
Appendix 1
FORM OF TENDER
Contract 87419
Nelson Street Watermain and PRV Installation
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All prices and quotations including the Contract Prices shall Exclude GST)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref./ (Supplementary Specifications) | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED AMOUNT
1 | 01 20 00S | PRICE AND PAYMENT PROCEDURES (PACKAGED PRV STATION)
1.01 | (1.2.4) | Supply and Install of Packaged PRV Station (including excavation, backfill, testing and commissioning and and all items on bill of quantities) | l.s | 1
2 | 01 58 01S | PROJECT IDENTIFICATION
2.01 | (1.3.1) | Construction Information Signs | ea. | 4
3 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
3.01 | (1.4) | Concrete Sidewalk, Connector Walkway & Wheelchair Letdown - 100mm thick – Broom Finished c/w 100mm granular base; and as shown and described in the Contract Documents | sq.m | 66
4 | 03 40 01 | PRECAST CONCRETE
4.01 | 1.4.2 | Concrete Retaining Wall >1.2m - Allan Block, Reinforced (Includes drainage, gravel footing, geotextile, excavation & backfill), and as shown in Contract Drawings | sq.m | 38
4.02 | 1.4.3 | Concrete Allan Block Stairs and Handrail to 307 Nelson Street | l.s | 1
5 | 26 05 00S / 01 20 00S | COMMON WORK RESULTS - ELECTRICAL / PRICE AND PAYMENT PROCEDURES
5.01 | (1.13.1) - 26 05 00S (1.2.1) - 01 20 00S | Electrical Kiosk and Associated Equipment and Concrete Slab | l.s | 1
5.02 | (1.13.1) - 26 05 00S (1.2.2) - 01 20 00S | PRV Chamber Electrical | l.s | 1
5.03 | (1.13.1) - 26 05 00S (1.2.3) - 01 20 00S | BC Hydro Connection | l.s | 1
6 | 31 11 01 | CLEARING AND GRUBBING
6.01 | 1.4.2 | Tree Removals | ea. | 1
7 | 31 23 01S | EXCAVATION, TRENCHING AND BACKFILL
7.01 | (1.10.3) | Over Excavation (Provisional) | cu.m | 10
7.02 | (1.10.9) | Import Backfill, 25mm crushed granular base (Provisional) | cu.m | 350
8 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT & COMPACTION
8.01 | (1.8.5) | Common Excavation Including Offsite Disposal (Includes Retaining Walls) | cu.m | 50
8.02 | (1.8.5) | Remove Existing Sidewalks (All Depths) (sawcut, removal, offsite disposal) | sq.m | 56
8.03 | 1.8.7 | Imported Embankment Fill | tonne | 30
9 | 32 31 13 | CHAINLINK FENCES AND GATES
9.01 | 1.5.4 | 1.2 m Handrails (MMCD C14) | l.m. | 23
10 | 32 91 21S | TOP SOIL AND FINISH GRADING
10.01 | (1.4.1) | Imported Topsoil - 150mm Thick for Sod | cu.m | 25
11 | 32 92 23S | SODDING
11.01 | (1.8.1) | Sodding | sq.m | 140
12 | 33 11 01S | WATERWORKS
12.01 | (1.8.2) | 150 mm Class 50 DI Watermain c/w Temporary Pavement Restoration | l.m | 94.5
12.02 | (1.8.2) | 200 mm Class 50 DI Watermain c/w Temporary Pavement Restoration | l.m | 21
12.03 | (1.8.2) | 250 mm Class 50 DI Watermain c/w Temporary Pavement Restoration | l.m | 429
12.04 | (1.8.4) | Transfer ex 19mm Service Connections - COQ-W2I or COQ-W2k as shown in Contract Drawings | ea. | 10
12.05 | (1.8.4) | Proposed 19mm Service Connections - COQ-W2I or COQ-W2k as shown in Contract Drawings | ea. | 5
12.06 | (1.8.4) | Proposed 50mm Service Connections - COQ-W2E as shown in Contract Drawings | ea. | 2
12.07 | (1.8.4) | Water Service Meter Box and Assembly (Excludes Meter) | ea. | 7
12.08 | (1.8.4) | Relocate 19mm Service Connections at 307 Nelson Street - COQ-W2I or COQ-W2k as shown in Contract Drawings (Provisional) | ea. | 2
12.09 | (1.8.4) | 100mm Service Connections at 1025 Brunette Avenue (not including mainline tee or mainline branch gate valve) | ea. | 1
12.1 | (1.8.3) | 250 mm Gate Valve | ea. | 11
12.11 | (1.8.3) | 200 mm Gate Valve | ea. | 1
12.12 | (1.8.3) | 150 mm Gate Valve | ea. | 7
12.13 | (1.8.3) | 250 mm 45 deg Bend | ea. | 4
12.14 | (1.8.3) | 250 mm 22.5 deg Bend - Vertical (Provisional) | ea. | 5
12.15 | (1.8.3) | 250 mm 45 deg Bend - Vertical (Provisional) | ea. | 5
12.16 | (1.8.3) | 250 mm 90 deg Bend | ea. | 2
12.17 | (1.8.3) | 200 mm 45 deg Bend | ea. | 2
12.18 | (1.8.3) | 150 mm 45 deg Bend | ea. | 14
12.19 | (1.8.3) | 250 mm x 200 mm Reducer | ea. | 1
12.2 | (1.8.3) | 250 mm x 150 mm Reducer | ea. | 4
12.21 | (1.8.3) | 250 mm x 250mm x 250mm x 250 mm Cross | ea. | 2
12.22 | (1.8.3) | 250 mm Tee | ea. | 1
12.23 | (1.8.3) | 250 mm x 150 mm Tee | ea. | 6
12.24 | (1.8.3) | 250 mm x 100 mm Tee | ea. | 1
12.25 | (1.8.14) | Hydrant Assembly | ea. | 3
12.26 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Brunette @ Nelson) | ea. | 1
12.27 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (James @ Nelson - East) | ea. | 1
12.28 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (James @ Nelson - North) | ea. | 1
12.29 | (1.8.13) | Cap & Abandon Existing (Delestre @ Nelson - West) | ea. | 1
12.3 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Delestre @ Nelson - East of PRV) | ea. | 1
12.31 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Thomas @ Nelson - East) | ea. | 1
12.32 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Thomas @ Nelson - West) | ea. | 1
12.33 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Stewart @ Nelson - East) | ea. | 1
12.34 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Stewart @ Nelson - West) | ea. | 1
12.35 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Walls @ Nelson - North) | ea. | 1
12.36 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Walls @ Nelson - West) | ea. | 1
12.37 | (1.8.13) | Watermain Tie-in complete with cap & abandon existing (Walls @ Nelson - East) | ea. | 1
13 | 33 40 01 / 01 20 00S | STORM SEWERS / PRICE AND PAYMENT PROCEDURES
13.01 | 1.6.5 - 33 40 01 (1.2.4) - 01 20 00S | 100mm DR28 PVC Storm Sewer c/w cleanouts, Imported Trench Backfill, tie-in to existing lawnbasin and as shown in Contract Drawings | l.s | 1
Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: